## Slide 1: Luck Sampling for STM measurements
By Patrick Van Workum

## Slide 2: Understanding the data
Displayed are the first 12 real and complex harmonic components from the STM experiment on 18/06/2021.
Plots represent the mean value of pixel for each coefficient, with color mapping bound by ±3 standard deviations.
Real
Complex
Notes: More information?

## Slide 3: Other statistic measurements
Figure 1) Mean of each pixel’s values, colour mapping; mean ± 3 standard deviation.
Figure 2) Median of pixel’s values, colour mapping; median ± 3 standard deviation.
Notes: All images are taken from the real component

## Slide 4: Other statistic measurements
Figure 1) Mean of each pixel’s values, colour mapping; mean ± 3 standard deviation.
Figure 2) Median of pixel’s values, colour mapping; median ± 3 standard deviation.
Figure 3) Mean of each pixel’s values, colour mapping; mean ± 2 standard deviation.
Notes: All images are taken from the real component

## Slide 5: Other statistic measurements
Figure 1) Mean of each pixel’s values, colour mapping; mean ± 3 standard deviation.
Figure 2) Median of pixel’s values, colour mapping; median ± 3 standard deviation.
Figure 4) Mean of each pixel’s values, colour mapping; mean ± 4 standard deviation.
Figure 3) Mean of each pixel’s values, colour mapping; mean ± 2 standard deviation.
Notes: All images are taken from the real component

## Slide 6: Other statistic measurements
Figure 2) Median of pixel’s values, colour mapping; median ± 3 standard deviation.
Figure 1) Mean of each pixel’s values, colour mapping; mean ± 3 standard deviation.
Figure 3) Mean of each pixel’s values, colour mapping; mean ± 2 standard deviation.
Figure 4) Mean of each pixel’s values, colour mapping; mean ± 4 standard deviation.
Notes: All images are taken from the real component

## Slide 7: Other statistic measurements
Figure 2) Median of pixel’s values, colour mapping; median ± 3 standard deviation.
Figure 1) Mean of each pixel’s values, colour mapping; mean ± 3 standard deviation.
Figure 3) Mean of each pixel’s values, colour mapping; mean ± 2 standard deviation.
Figure 4) Mean of each pixel’s values, colour mapping; mean ± 4 standard deviation.
Notes: All images are taken from the real component

## Slide 8: Root Mean Square
Figure 5) RMS of each pixel’s values, colour mapping; RMS ± 3 standard deviation.
Figure 1) Mean of each pixel’s values, colour mapping; Mean ± 2 standard deviation.
Notes: Is this interesting results

## Slide 9: Looking at a single Pixel
A single pixel has 160 datapoints captured over 0.1 seconds.
The image is 50x50 pixels, with 31 real and complex coefficients
The dataset contains 24.8 million points, or 155,000 after averaging.
Significant variation exists within each coefficient's values for any pixel.
  Sharp resolution
  Remove noise
Notes: A single pixel consists of 160 data points collected over a 0.1-second interval. The full image is 50x50 pixels, with 31 coefficients for both real and complex components, resulting in a dataset of 24,800,000 points, or 155,000 when averaged. Analyzing the coefficients for any pixel reveals significant variation within the values. Is there a more effective analytical approach to improve the results beyond simply averaging? Can we achieve sharper resolution and reduce noise?

## Slide 10: Complex coefficient
Notes: Shows complex component time series of the coefficient 1 – 4 for pixel (2,1)

## Slide 11: Fourier Transform Slicing
Notes: Correlate coefficient 1 to other coefficients and subtracting off the Coefficient 1
Apply a FT on the data. Extract out the Major frequencies.
Create a new signal using only these frequencies
Slice the original coefficient data based on the peaks on the Signal

## Slide 12: Fourier Transform Slicing
Notes: Correlate coefficient 1 to other coefficients and subtracting off the coefficient 1

## Slide 13: Fourier Transform Slicing
Notes: Apply a FT on the data. Extract out the Major frequencies.

## Slide 14: Fourier Transform Slicing
Notes: Create a new signal in the frequency domain

## Slide 15: Fourier Transform Slicing
Notes: Reverse the new created signal back into the time domain

## Slide 16: Fourier Transform Slicing
Notes: Correlate coefficient 1 to other coefficients and subtracting off the Coefficient 1
Apply a FT on the data. Extract out the Major frequencies.
Create a new signal in the frequency domain
Reverse the new created signal back into the time domain

## Slide 17: Real Coefficient Pixel (2,1)
Notes: FT analysis applied to real component of coefficient 3 on pixel (2,1)

## Slide 18: Complex Coefficient Pixel (2,1)
Notes: FT analysis applied to complex component of coefficient 2 on pixel (2,1)

## Slide 19: Fourier Transform Slicing
Notes: Slice the original coefficient data based on the peaks on this new created Fourier signal

## Slide 20: Fourier Transform Slicing
Notes: Slice the original coefficient data based on the peaks on this new created Fourier signal

## Slide 21: Fourier Transform Slicing
Real
Real
Complex
Notes: Taking the slice data, take the mean and same starred colour mapping as shown on slide 3. Plot the result.

## Slide 22: Fourier Transform Slicing
Real
Complex
Real
Notes: Taking the slice data, take the mean and same starred colour mapping as shown on slide 3. Plot the result.

## Slide 23: Slicing time periods
Last 20 values
Last 40 values
Last 80 values
First 20 values
First 40 values
First 80 values
Last 5 values
Last 10 values
Last 20 values
Last 40 values
Last 80 values
All values

## Slide 24: Slicing time periods
Last 20 values
Last 40 values
Last 80 values
First 20 values
First 40 values
First 80 values
Last 5 values
Last 10 values
Last 20 values
Last 40 values
Last 80 values

## Slide 25: 2D FT sliced time periods
All values
80 values
40 values
20 values
DICE Value;

## Slide 26: 2D FT reversed sliced time periods
All values
80 values
40 values
20 values

## Slide 27: DICE value
The Dice coefficient (or Dice similarity index) is a measure of the similarity between two sets, commonly used in image segmentation tasks to compare predicted regions against ground truth regions.
  For two binary matrices A and B, the Dice coefficient is defined as:
  Dice (𝐴,𝐵)=
  This can be extended to two continuous arrays:
Notes: Where: ∣𝐴∩𝐵∣ is the number of overlapping elements (i.e., the number of True or 1 values in both A and B). ∣𝐴∣ and ∣𝐵∣ are the number of True or 1 values in A and B, respectively.

## Slide 28: DICE graphs forward slicing
80 values
40 values
20 values

## Slide 29: DICE graphs backward slicing
80 values
40 values
20 values

## Slide 30: Conclusion
Based on the analysis of this dataset;
  Using color mapping based on the mean ± 3 standard deviations is the most effective approach.
  The median and adjustments to the standard deviation have no noticeable impact on the results.
  The Root Mean Squared (RMS) provides a different perspective compared to the mean or median
  Important information is not encoded in periodic points but rather across a given time spread, however further investigation into this is needed.
  It may be possible to reduce the time spent on each pixel by up to 75%, depending on the variation in the time spread.
  Work could be done to come up with a numerical way to
Notes: Also tried geometric and harmonic means are terrible

## Slide 31: Thanks to Fabian
Link to GitHub repository